KHYBER MEDICAL UNIVERSITY

BS (Anesthesia)

======================================================================

New Building, Phase-v, Hayatabad, Khyber Pakhtunkhwa, Peshawar

Phone No. 9217796, 9217699 Fax No. 9217704, Website: www.kmu. edu.pk

| - HUMAN RESOURCE (TEACHING FACULTY & SUPPORTING STAFF) for 25 no of student |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Teaching Faculty | Required |  |  | Available |  | Name |  | Required qualification |  |
| Professor/associate/Assistant Professor | 01 |  |  |  |  |  |  | PhD/M.Phil./Master in any sub-specialty of anesthesia Technology |  |
| Lecturers 1:12 | 05 (02 for zero visit, 1 each in subsequent visits, at the end of 1st ,2nd 3rd years) |  |  |  |  |  |  | BS Anesthesia (awarded after 16 years of education) |  |
|  | Note: one inspection per year |  |  |  |  |  |  |  |  |
| OTHER STAFF |  |  |  |  |  |  |  |  |  |
| Lab. Technician |  | 02 |  |  |  |  |  |  |  |
| Supporting Staff |  | 03 |  |  |  |  |  |  |  |
| Librarian |  | 1 |  |  |  |  |  |  |  |
| IT manager |  | 1 |  |  |  |  |  |  |  |
| - INFRASTRUCTURE |  |  |  |  |  |  |  |  |  |
| STAFF OFFICE |  |  |  |  |  |  |  |  |  |
| Assistant Professor |  |  |  |  |  |  |  |  |  |
| Faculty member |  |  |  |  |  |  |  |  |  |
| 04 Class Rooms for 25 students for each (with audio visuals) 200 sqf area each |  |  |  |  |  |  |  |  |  |
| NET FACILITY FOR TEACHING FACULTY |  |  |  |  |  |  |  |  |  |
| Assistant Professor |  |  |  |  |  |  |  |  |  |
| Faculty member |  |  |  |  |  |  |  |  |  |
| - LIBRARY & ANATOMY MUSEUM |  |  |  |  |  |  |  |  |

| 1). ANATOMY MUSEUM |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| a). Space available for 25 students (as per list) |  |  |  |  |  |  |  |  |  |
| 2). LIBRARY |  |  |  |  |  |  |  |  |  |
| - Books as per list |  |  |  |  |  |  |  |  |  |
| Equipment (institute based instruments) |  |  |  |  |  |  |  |  |
| S.# | Equipment | Qty | Av | S.# | Equipment |  | Qty | Av |
| 1 | Anesthesia machine | 01 |  | 13 | Deferent types of airways |  | 03 |  |
| 2 | Oximeters (Pulp) | 01 |  | 14 | Endotracheal tubes |  | 03 |  |
| 3 | Oxy-meters | 01 |  | 15 | Image intensifier |  | 01 |  |
| 4 | Normocap / Capnograph | 01 |  | 16 | Gluco-meters |  | 01 |  |
| 5 | Vital sign monitor | 01 |  | 17 | Sphygmomanometer |  | 01 |  |
| 6 | LMA | 02 |  | 18 | Propofal |  | 1 vial |  |
| 7 | Electrolytes solution | 500 ml |  | 19 | Baby weighing machine |  | 01 |  |
| 8 | Ketamine | 1 vial |  | 20 | Atropine |  | 1 vial |  |
| 9 | Pentothal | 1 vial |  | 21 | Anaesthesia Gas Analyser (Gas/8- 51) |  | 01 |  |
| 10 | Suction apparatus | 01 |  | 22 | CFM/CFAM for Operation theatres |  | 01 |  |
| 11 | Laryngo-scope | 01 |  | 23 | Nerve Stimulator |  | 01 |  |
| 12 | Anaesthesia ventilator | 01 |  | 24 | Muscle relaxant drug |  | 1 vial |  |
| iv. EQUIPMENT (Hospital based) |  |  |  |  |  |  |  |  |
| S.# | Equipment | Qty | Av | S.# | Equipment |  | Qty | Av |
|  | ICU Ventilator | 01 |  |  | Laproscope |  | 01 |  |
|  | Defibrillator | 01 |  |  | Infant transport incubator |  | 01 |  |
|  | Diathermy machine | 01 |  |  | Blood gas analyser |  | 01 |  |
|  | Infusion pumps | 01 |  |  | Lyringoscope |  | 01 |  |
|  | Operation table | 01 |  |  | Advance anesthesia machine |  | 02 |  |