KHYBER MEDICAL UNIVERSITY

Requirements for

BS (Health Technology)

======================================================================

Administration Block, Phase-v, Hayatabad, Khyber Pakhtunkhwa, Peshawar

Phone No. 9217796, 9217699 Fax No. 9217704, Website: www.kmu. edu.pk

| - HUMAN RESOURCE (TEACHING FACULTY & SUPPORTING STAFF) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Teaching Faculty |  | Required |  | Available |  |  |  |  |  | Name |  |  |  |  |  |  | Required qualification |  |  |  |  |  |  |
| Assistant Professor |  | 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Demonstrator |  | 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OTHER STAFF |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Supporting staff |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - INFRASTRUCTURE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STAFF OFFICE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assistant Professor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Faculty member |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 04 Class Rooms for 25 students for each (with audio visuals) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NET FACILITY FOR TEACHING FACULTY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assistant Professor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Faculty member |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - EQUIPMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S.# | Equipment |  |  |  |  |  | Qty |  | Av |  |  | S.# |  | Equipment |  |  |  |  |  | Qty | Av |  |  |
| 1 | Basicstandardsurgicalsets |  |  |  |  |  | 01 |  |  |  |  | 64 |  | Kocherforcepsstraight,12-14cm |  |  |  |  |  | 01 |  |  |  |
| 2 | Thoracicsurgicalset |  |  |  |  |  | 01 |  |  |  |  | 65 |  | Peanforceps,straight14cm |  |  |  |  |  | 01 |  |  |  |
| 3 | Vascularset |  |  |  |  |  | 01 |  |  |  |  | 66 |  | Surgicalscissors,curved,sharp/blunt,12-14cm |  |  |  |  |  | 01 |  |  |  |
| 4 | Plasticsurgeryset |  |  |  |  |  | 01 |  |  |  |  | 67 |  | Probe14-16cm |  |  |  |  |  | 01 |  |  |  |
| 5 | Paedsurgerysets |  |  |  |  |  | 01 |  |  |  |  | 68 |  | Mayo-HegarNeedleholder,18cm |  |  |  |  |  | 01 |  |  |  |
| 6 | ComedSurgDiathermymultipurpose |  |  |  |  |  | 01 |  |  |  |  | 69 |  | Scalpelhandle,No.4 |  |  |  |  |  | 01 |  |  |  |
| 7 | HighPressureAutoclave(TableType) |  |  |  |  |  | 01 |  |  |  |  | 70 |  | Basicsurgeryset |  |  |  |  |  | 01 |  |  |  |
| 8 | FibreopticColonoscope(Diagnostic&Therapeutic) |  |  |  |  |  | 01 |  |  |  |  | 71 |  | Stainlesssteelbox,25x10,5x5cm |  |  |  |  |  | 01 |  |  |  |
| 9 | FlexibleSigmoidoscopewithBiopsy&CauterySet |  |  |  |  |  | 01 |  |  |  |  | 72 |  | Sterilizer |  |  |  |  |  | 01 |  |  |  |
| 10 | LaparoscopicSurgicalSetComplete |  |  |  |  |  | 01 |  |  |  |  | 73 |  | Scalpelhandle,No.4 |  |  |  |  |  | 01 |  |  |  |
| 11 | MicrosurgicalInstrumentsetwithsterilizingBox |  |  |  |  |  | 01 |  |  |  |  | 74 |  | Mayo-HegarNeedleholder,18cm |  |  |  |  |  | 01 |  |  |  |
| 12 | TransurethralResectionofProstateResectoscopicSet |  |  |  |  |  | 01 |  |  |  |  | 75 |  | Surgicalscissors,Mayocurved,14cm |  |  |  |  |  | 01 |  |  |  |
| 13 | Cystoscope(Diagnostic&Therapeutic) |  |  |  |  |  | 01 |  |  |  |  | 76 |  | Surgicaldissectingscissors,Metzembaum,curved,14cm |  |  |  |  |  | 01 |  |  |  |
| 14 | FibreopticOesophagoscope |  |  |  |  |  | 01 |  |  |  |  | 77 |  | Farabeufretractors,short |  |  |  |  |  | 01 |  |  |  |
| 15 | FibreopticFibreopticBronchoscope |  |  |  |  |  | 01 |  |  |  |  | 78 |  | Arteryforceps,Halstead,noteeth,curve,12cm |  |  |  |  |  | 01 |  |  |  |
| 16 | Portable X-raysmachine,operationtableandradiographic filmcassettefacilitiese.g.forper-operativecholangiogram.ImageIntensifierwithC-Armanddoublemonitors. |  |  |  |  |  | 01 |  |  |  |  | 79 |  | Kocherforceps,withteeth,straight,hemostatic,14cm |  |  |  |  |  | 01 |  |  |  |
|  | MINORSURGERY |  |  |  |  |  |  |  |  |  |  | 80 |  | Probe,14,5cm |  |  |  |  |  | 01 |  |  |  |
| 17 | Dressingset |  |  |  |  |  | 01 |  |  |  |  | 81 |  | Dissectingforcepswithteeth14 cm |  |  |  |  |  | 01 |  |  |  |
| 18 | Stainlesssteelbox,17x7x3cm |  |  |  |  |  | 01 |  |  |  |  | 82 |  | Dissectingforcepsnoteeth14cm |  |  |  |  |  | 01 |  |  |  |
| 19 | Surgicalscissors,straightsharp/blunt,12-14cm |  |  |  |  |  | 01 |  |  |  |  | 83 |  | Haemostaticforceps(Chaput),14cm |  |  |  |  |  | 01 |  |  |  |
| 20 | Kocherforceps,noteeth,straight12-14cm |  |  |  |  |  | 01 |  |  |  |  | 84 |  | Haemostaticforceps(Collin),16cm |  |  |  |  |  | 01 |  |  |  |
| 21 | Dissectingforceps,noteeth,12-14cm |  |  |  |  |  | 01 |  |  |  |  | 85 |  | Towelclips(Backaus),10cm |  |  |  |  |  | 01 |  |  |  |
| 22 | Abscess/suture set |  |  |  |  |  | 01 |  |  |  |  | 86 |  | Galipot,8cm |  |  |  |  |  | 01 |  |  |  |
| 23 | Stainlesssteelbox,22x10x5cm |  |  |  |  |  | 01 |  |  |  |  | 87 |  | Dissectingforcepswithteethstraight,12-14cm |  |  |  |  |  | 01 |  |  |  |
| 24 | Stethoscope |  |  |  |  | 01 |  |  |  |  |  |  | 88 | Pulse Oximeters |  |  |  |  | 01 |  |  |  |  |
| 25 | B.P Apparatus |  |  |  |  | 01 |  |  |  |  |  |  | 89 | Bronchoscope |  |  |  |  | 01 |  |  |  |  |
| 26 | Peak Flow Meters |  |  |  |  | 01 |  |  |  |  |  |  | 90 | Intercostal Chest Drainage Tube |  |  |  |  | 01 |  |  |  |  |
| 27 | Spirometry (PFT Machine) |  |  |  |  | 01 |  |  |  |  |  |  | 91 | Nebulizers |  |  |  |  | 01 |  |  |  |  |
| 28 | Abram Pleural Biopsy Needle |  |  |  |  | 01 |  |  |  |  |  |  | 92 | Oxygen Cylinders i.e. Oxygen system |  |  |  |  | 01 |  |  |  |  |
| 29 | Suction Machines |  |  |  |  | 01 |  |  |  |  |  |  | 93 |  |  |  |  |  |  |  |  |  |  |
| 30 | Instrument Trolley |  |  |  |  | 01 |  |  |  |  |  |  | 94 | Adopter Small size |  |  |  |  | 01 |  |  |  |  |
| 31 | Succer Machine |  |  |  |  | 01 |  |  |  |  |  |  | 95 | Almarch Wooden |  |  |  |  | 01 |  |  |  |  |
| 32 | Adjustment Wrench |  |  |  |  | 01 |  |  |  |  |  |  | 96 | Bowel Small size steel |  |  |  |  | 01 |  |  |  |  |
| 33 | Oxygen Key |  |  |  |  | 01 |  |  |  |  |  |  | 97 | Bowel Stand with Basiy |  |  |  |  | 01 |  |  |  |  |
| 34 | Kidney Tray |  |  |  |  | 01 |  |  |  |  |  |  | 98 | Cold Light supply Olympus Model CLE-40 |  |  |  |  | 01 |  |  |  |  |
| 35 | Dressing Drum |  |  |  |  | 01 |  |  |  |  |  |  | 99 | Coagulation Electrodes CD-IL |  |  |  |  | 01 |  |  |  |  |
| 36 | File Capinel Steel |  |  |  |  | 01 |  |  |  |  |  |  | 100 | Electric Coagulation Unit PSD |  |  |  |  | 01 |  |  |  |  |
| 37 | Foam chairs |  |  |  |  | 01 |  |  |  |  |  |  | 101 | Linen Trolley Field Bucket S.SIA Basin I |  |  |  |  | 01 |  |  |  |  |
| 38 | OEV-141 Olympus Color Monitro |  |  |  |  | 01 |  |  |  |  |  |  | 102 | Procto Scope Electric |  |  |  |  | 01 |  |  |  |  |
| 39 | OES Halogen Light Source CLE-10 |  |  |  |  | 01 |  |  |  |  |  |  | 103 | Procto Scope Adult |  |  |  |  | 01 |  |  |  |  |
| 40 | Lead Appron |  |  |  |  | 01 |  |  |  |  |  |  | 104 | Revolving Chair |  |  |  |  | 01 |  |  |  |  |
| 41 | PlmpusVedio CV-100-Processor |  |  |  |  | 01 |  |  |  |  |  |  | 105 | Rubber Ballon Set for Bleeding |  |  |  |  | 01 |  |  |  |  |
| 42 | Oxygen Infusion Pump |  |  |  |  | 01 |  |  |  |  |  |  | 106 | Stabilizer Auto |  |  |  |  | 01 |  |  |  |  |
| 43 | Laryngo Scope Adult |  |  |  |  | 01 |  |  |  |  |  |  | 107 | Medicine Tray |  |  |  |  | 01 |  |  |  |  |
| 44 | Basin Stand |  |  |  |  | 01 |  |  |  |  |  |  | 108 | Teaching attachment XQ Olympus |  |  |  |  | 01 |  |  |  |  |
| 45 | Basin Small Size |  |  |  |  | 01 |  |  |  |  |  |  | 109 | Stool Wooden |  |  |  |  | 01 |  |  |  |  |
| 46 | Bed coach Wooden Steel Log |  |  |  |  | 01 |  |  |  |  |  |  | 110 | Salestion esophageal dilators |  |  |  |  | 01 |  |  |  |  |
| 47 | Chairs |  |  |  |  | 01 |  |  |  |  |  |  | 111 | Savarygillarid Dilator4s |  |  |  |  | 01 |  |  |  |  |
| 48 | PT Trolley |  |  |  |  | 01 |  |  |  |  |  |  | 112 | Instrument Table |  |  |  |  | 01 |  |  |  |  |
| 49 | Toshiba C- Arm |  |  |  |  | 01 |  |  |  |  |  |  | 113 | Oxygen Cylinder-e- Trolley |  |  |  |  | 01 |  |  |  |  |
| 50 | Olympus Vedio Processor with Keg Board |  |  |  |  | 01 |  |  |  |  |  |  | 114 | O2 Flow metter |  |  |  |  | 01 |  |  |  |  |
| 51 | Cassette with Intensifying Screen |  |  |  |  | 01 |  |  |  |  |  |  | 115 | Water container Olympus |  |  |  |  | 01 |  |  |  |  |
| 52 | Air conditioner |  |  |  |  | 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SCOPES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 53 | CF-130 Olympus ColonoVedeo Scope |  |  |  | 01 |  |  |  |  |  |  |  | 116 |  | CF-140-S Video Sigmoid Scope |  |  | 01 |  |  |  |  |  |
| 54 | GIF-130 Video Gastro Scope |  |  |  | 01 |  |  |  |  |  |  |  | 117 |  | FIF XQ-40 Fiber Optic Scope |  |  | 01 |  |  |  |  |  |
| 55 | Fiber Optic Colono Scope CF-30 L |  |  |  | 01 |  |  |  |  |  |  |  | 118 |  | GIF 2 T20 Fiber Optic Gastro Scope |  |  | 01 |  |  |  |  |  |
| 56 | GIF XQ Standard Set (Old) Gastro Scope |  |  |  | 01 |  |  |  |  |  |  |  | 119 |  | JF-130 Dudeno Video (ERCP) Scope |  |  | 01 |  |  |  |  |  |
| 57 | GIF N-30 Pediatric Gastro Scope |  |  |  | 01 |  |  |  |  |  |  |  | 120 |  | TJF-130 dudeno Video (ERCP) Scope |  |  | 01 |  |  |  |  |  |
| 58 | GIF XQ-140 Gastro Video Scope |  |  |  | 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| NEW SCOPES |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 59 | GIF-160 Video Upper Gastro Scope | 01 |  | 121 | PCT-16 AL-Video Pediatric Colono Scope | 01 |  |
| 60 | CFQ-160 L Video Colono Scope | 01 |  | 122 | Monitor for Gastro Scope LCD Color (LUMA 1420 Monitor) | 01 |  |
| 61 | CV-160 Video Processor for Scopes | 01 |  | 123 | Dilator Ballon | 01 |  |
| 62 | CLV-160 Xenon Light Source | 01 |  | 124 | BA Achalasia Ballon 35 m | 01 |  |
| 63 | TTF-160 VR ERCP Scope | 01 |  | 125 | ERCP Cathers | 01 |  |