
KHYBER MEDICAL UNIVERSITY
[image: kmulogotransparent.gif]
BS (Surgery Technology)










======================================================================
New Building, Phase-v, Hayatabad, Khyber Pakhtunkhwa, Peshawar
Phone No. 9217796, 9217699 Fax No. 9217704, Website: www.kmu. edu.pk

	I- HUMAN RESOURCE (TEACHING FACULTY & SUPPORTING STAFF) for 25 no of student 

	Teaching Faculty
	Required
	Available
	Name 
	Required qualification 

	Professor/associate/Assistant Professor
	01
	
	
	PhD/M.Phil./Master in any sub-specialty of surgery Technology

	
	
	
	
	

	Lecturers 
1:12 
	
              05


(02 for zero visit,
1 each in subsequent visits, at the end of 1st ,2nd 3rd years) 
	
	
	BS surgery (awarded after 16 years of education)

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	Note: one inspection per year

	OTHER STAFF                                             

	Lab. Technician
	02
	
	

	
	
	
	

	Supporting Staff
	03
	
	

	
	
	
	

	
	
	
	

	Librarian 
	1
	
	

	IT manager 
	1
	
	

	
II- INFRASTRUCTURE 

	STAFF OFFICE 

	Assistant Professor 
	[image: ]	[image: ]

	Faculty member
	[image: ]	[image: ]

	04 Class Rooms for 25 students for each  (with audio visuals)
200 sqf area each
	[image: ]	[image: ]

	NET FACILITY FOR TEACHING FACULTY

	Assistant Professor 
	[image: ]	[image: ]

	Faculty member 
	[image: ]	[image: ]




	III- LIBRARY & ANATOMY MUSEUM

	

	1). ANATOMY MUSEUM 
			

		a). Space available for 25 students (as per list)
	[image: ]		[image: ]

	2). LIBRARY 
			

	a) Books as per list
	[image: ]		[image: ]

	Equipment (institute based instruments)

	S.#
	Equipment 
	Qty
	Av 
	S.#
	Equipment 
	Qty
	Av

	1
	Simulated mannequins
	5
	
	24
	Dissectingforcepswithteethstraight,12-14cm
	01
	

	2
	Basicstandardsurgicalsets
	01
	
	25
	Kocherforcepsstraight,12-14cm
	01
	

	3
	Thoracicsurgicalset
	01
	
	26
	Peanforceps,straight14cm
	01
	

	4
	Vascularset
	01
	
	27
	Surgicalscissors,curved,sharp/blunt,12-14cm
	01
	

	5
	Plasticsurgeryset
	01
	
	28
	Probe14-16cm
	01
	

	5
	Paedsurgerysets
	01
	
	29
	Mayo-HegarNeedleholder,18cm
	01
	

	6
	ComedSurgDiathermymultipurpose
	01
	
	30
	Scalpelhandle,No.4
	25
	

	7
	HighPressureAutoclave(TableType)
	01
	
	31
	Basicsurgeryset
	01
	

	8
	Antiseptic solutions
	05
	
	32
	Stainlesssteelbox,25x10,5x5cm
	01
	

	9
	Surgical Table,attachments
	01
	
	33
	Suture material
	25
	

	10
	Pulse oximtere
	01
	
	34
	Scalpelhandle,No.4
	01
	

	11
	MicrosurgicalInstrumentsetwithsterilizingBox
	01
	
	35
	Mayo-HegarNeedleholder,18cm
	01
	

	12
	Auto clave tape
	01
	
	36
	Surgicalscissors,Mayocurved,14cm
	01
	

	13
	Suctions, drains
	25
	
	37
	Surgicaldissectingscissors,Metzembaum,curved,14cm
	01
	

	14
	Surgical tubes
	25
	
	38
	Farabeufretractors,short
	01
	

	15
	Syringes,branula
	50
	
	39
	Arteryforceps,Halstead,noteeth,curve,12cm
	01
	

	16
	Surgical drape set
	01
	
	40
	Kocherforceps,withteeth,straight,hemostatic,14cm
	01
	

	
	MINORSURGERY
	
	
	41
	Probe,14,5cm
	01
	

	17
	Dressingset
	01
	
	42
	Dissectingforcepswithteeth14 cm
	01
	

	18
	Stainlesssteelbox,17x7x3cm
	01
	
	43
	Dissectingforcepsnoteeth14cm
	01
	

	19
	Surgicalscissors,straightsharp/blunt,12-14cm
	01
	
	44
	Haemostaticforceps(Chaput),14cm
	01
	

	20
	Kocherforceps,noteeth,straight12-14cm
	01
	
	45
	Haemostaticforceps(Collin),16cm
	01
	

	21
	Dissectingforceps,noteeth,12-14cm
	01
	
	46
	Towelclips(Backaus),10cm
	01
	

	22
	Abscess/suture set
	01
	
	47
	Galipot,8cm
	01
	

	23
	Stainlesssteelbox,22x10x5cm
	01
	
	
	
	
	

	Equipment (Hospital based instruments)

	1
	Basicstandardsurgicalsets
	01
	
	13
	Portable X-raysmachine,operationtableandradiographic filmcassettefacilitiese.g.forper-operativecholangiogram.ImageIntensifierwithC-Armanddoublemonitors.
	01
	

	2
	Thoracicsurgicalset
	01
	
	
	MINORSURGERY
	
	

	3
	Vascularset
	01
	
	14
	Dressingset
	01
	

	4
	Plasticsurgeryset
	01
	
	15
	Stainlesssteelbox,17x7x3cm
	01
	

	5
	Paedsurgerysets
	01
	
	16
	Abscess/suture set
	01
	

	6
	Surg.Diathermymulti-purpose
	01
	
	17
	Stainlesssteelbox,22x10x5cm
	01
	

	7
	HighPressureAutoclave(TableType)
	01
	
	18
	Basicsurgeryset
	01
	

	8
	FibreopticColonoscope(Diagnostic&Therapeutic)
	01
	
	19
	Stainlesssteelbox,25x10,5x5cm
	01
	

	9
	FlexibleSigmoidoscopewithBiopsy&CauterySet
	01
	
	20
	Autoclave, Hot air oven
	1,1
	

	10
	LaparoscopicSurgicalSetComplete
	01
	
	21
	Cystoscope(Diagnostic&Therapeutic)
	01
	

	11
	MicrosurgicalInstrumentsetwithsterilizingBox
	01
	
	22
	FibreopticOesophagoscope
	01
	

	12
	TransurethralResectionofProstateResectoscopicSet
	01
	
	23
	FibreopticFibreopticBronchoscope
	01
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