KHYBER MEDICAL UNIVERSITY

BS (Surgery Technology)

======================================================================

New Building, Phase-v, Hayatabad, Khyber Pakhtunkhwa, Peshawar

Phone No. 9217796, 9217699 Fax No. 9217704, Website: www.kmu. edu.pk

| - HUMAN RESOURCE (TEACHING FACULTY & SUPPORTING STAFF) for 25 no of student |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Teaching Faculty |  | Required |  |  |  | Available |  |  | Name |  |  |  |  | Required qualification |  |  |  |  |
| Professor/associate/Assistant Professor |  | 01 |  |  |  |  |  |  |  |  |  |  |  | PhD/M.Phil./Master in any sub-specialty of surgery Technology |  |  |  |  |
| Lecturers 1:12 |  | 05 (02 for zero visit, 1 each in subsequent visits, at the end of 1st ,2nd 3rd years) |  |  |  |  |  |  |  |  |  |  |  | BS surgery (awarded after 16 years of education) |  |  |  |  |
|  |  | Note: one inspection per year |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OTHER STAFF |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lab. Technician |  |  | 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Supporting Staff |  |  | 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Librarian |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IT manager |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - INFRASTRUCTURE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STAFF OFFICE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assistant Professor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Faculty member |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 04 Class Rooms for 25 students for each (with audio visuals) 200 sqf area each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NET FACILITY FOR TEACHING FACULTY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assistant Professor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Faculty member |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - LIBRARY & ANATOMY MUSEUM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1). ANATOMY MUSEUM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| a). Space available for 25 students (as per list) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2). LIBRARY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Books as per list |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment (institute based instruments) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S.# | Equipment |  |  |  | Qty |  |  | Av |  | S.# | Equipment |  |  |  | Qty | Av |
| 1 | Simulated mannequins |  |  |  | 5 |  |  |  |  | 24 | Dissectingforcepswithteethstraight,12-14cm |  |  |  | 01 |  |
| 2 | Basicstandardsurgicalsets |  |  |  | 01 |  |  |  |  | 25 | Kocherforcepsstraight,12-14cm |  |  |  | 01 |  |
| 3 | Thoracicsurgicalset |  |  |  | 01 |  |  |  |  | 26 | Peanforceps,straight14cm |  |  |  | 01 |  |
| 4 | Vascularset |  |  |  | 01 |  |  |  |  | 27 | Surgicalscissors,curved,sharp/blunt,12-14cm |  |  |  | 01 |  |
| 5 | Plasticsurgeryset |  |  |  | 01 |  |  |  |  | 28 | Probe14-16cm |  |  |  | 01 |  |
| 5 | Paedsurgerysets |  |  |  | 01 |  |  |  |  | 29 | Mayo-HegarNeedleholder,18cm |  |  |  | 01 |  |
| 6 | ComedSurgDiathermymultipurpose |  |  |  | 01 |  |  |  |  | 30 | Scalpelhandle,No.4 |  |  |  | 25 |  |
| 7 | HighPressureAutoclave(TableType) |  |  |  | 01 |  |  |  |  | 31 | Basicsurgeryset |  |  |  | 01 |  |
| 8 | Antiseptic solutions |  |  |  | 05 |  |  |  |  | 32 | Stainlesssteelbox,25x10,5x5cm |  |  |  | 01 |  |
| 9 | Surgical Table,attachments |  |  |  | 01 |  |  |  |  | 33 | Suture material |  |  |  | 25 |  |
| 10 | Pulse oximtere |  |  |  | 01 |  |  |  |  | 34 | Scalpelhandle,No.4 |  |  |  | 01 |  |
| 11 | MicrosurgicalInstrumentsetwithsterilizingBox |  |  |  | 01 |  |  |  |  | 35 | Mayo-HegarNeedleholder,18cm |  |  |  | 01 |  |
| 12 | Auto clave tape |  |  |  | 01 |  |  |  |  | 36 | Surgicalscissors,Mayocurved,14cm |  |  |  | 01 |  |
| 13 | Suctions, drains |  |  |  | 25 |  |  |  |  | 37 | Surgicaldissectingscissors,Metzembaum,curved,14cm |  |  |  | 01 |  |
| 14 | Surgical tubes |  |  |  | 25 |  |  |  |  | 38 | Farabeufretractors,short |  |  |  | 01 |  |
| 15 | Syringes,branula |  |  |  | 50 |  |  |  |  | 39 | Arteryforceps,Halstead,noteeth,curve,12cm |  |  |  | 01 |  |
| 16 | Surgical drape set |  |  |  | 01 |  |  |  |  | 40 | Kocherforceps,withteeth,straight,hemostatic,14cm |  |  |  | 01 |  |
|  | MINORSURGERY |  |  |  |  |  |  |  |  | 41 | Probe,14,5cm |  |  |  | 01 |  |
| 17 | Dressingset |  |  |  | 01 |  |  |  |  | 42 | Dissectingforcepswithteeth14 cm |  |  |  | 01 |  |
| 18 | Stainlesssteelbox,17x7x3cm |  |  |  | 01 |  |  |  |  | 43 | Dissectingforcepsnoteeth14cm |  |  |  | 01 |  |
| 19 | Surgicalscissors,straightsharp/blunt,12-14cm |  |  |  | 01 |  |  |  |  | 44 | Haemostaticforceps(Chaput),14cm |  |  |  | 01 |  |
| 20 | Kocherforceps,noteeth,straight12-14cm |  |  |  | 01 |  |  |  |  | 45 | Haemostaticforceps(Collin),16cm |  |  |  | 01 |  |
| 21 | Dissectingforceps,noteeth,12-14cm |  |  |  | 01 |  |  |  |  | 46 | Towelclips(Backaus),10cm |  |  |  | 01 |  |
| 22 | Abscess/suture set |  |  |  | 01 |  |  |  |  | 47 | Galipot,8cm |  |  |  | 01 |  |
| 23 | Stainlesssteelbox,22x10x5cm |  |  |  | 01 |  |  |  |  |  |  |  |  |  |  |  |
| Equipment (Hospital based instruments) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Basicstandardsurgicalsets |  |  |  | 01 |  |  |  |  | 13 | Portable X-raysmachine,operationtableandradiographic filmcassettefacilitiese.g.forper-operativecholangiogram.ImageIntensifierwithC-Armanddoublemonitors. |  |  |  | 01 |  |
| 2 | Thoracicsurgicalset |  |  |  | 01 |  |  |  |  |  | MINORSURGERY |  |  |  |  |  |
| 3 | Vascularset |  |  |  | 01 |  |  |  |  | 14 | Dressingset |  |  |  | 01 |  |
| 4 | Plasticsurgeryset |  |  |  | 01 |  |  |  |  | 15 | Stainlesssteelbox,17x7x3cm |  |  |  | 01 |  |
| 5 | Paedsurgerysets |  |  |  | 01 |  |  |  |  | 16 | Abscess/suture set |  |  |  | 01 |  |
| 6 | Surg.Diathermymulti-purpose |  |  |  | 01 |  |  |  |  | 17 | Stainlesssteelbox,22x10x5cm |  |  |  | 01 |  |
| 7 | HighPressureAutoclave(TableType) |  |  |  | 01 |  |  |  |  | 18 | Basicsurgeryset |  |  |  | 01 |  |
| 8 | FibreopticColonoscope(Diagnostic&Therapeutic) |  |  |  | 01 |  |  |  |  | 19 | Stainlesssteelbox,25x10,5x5cm |  |  |  | 01 |  |
| 9 | FlexibleSigmoidoscopewithBiopsy&CauterySet |  |  |  | 01 |  |  |  |  | 20 | Autoclave, Hot air oven |  |  |  | 1,1 |  |
| 10 | LaparoscopicSurgicalSetComplete |  |  |  | 01 |  |  |  |  | 21 | Cystoscope(Diagnostic&Therapeutic) |  |  |  | 01 |  |
| 11 | MicrosurgicalInstrumentsetwithsterilizingBox |  |  |  | 01 |  |  |  |  | 22 | FibreopticOesophagoscope |  |  |  | 01 |  |
| 12 | TransurethralResectionofProstateResectoscopicSet |  |  |  | 01 |  |  |  |  | 23 | FibreopticFibreopticBronchoscope |  |  |  | 01 |  |